## Worksheet
Rev.: 0
Rev. Date: 07-Nov-2023
CAS No. | Gas Name | Formula | Molecular Mass | Boiling Point (°F) | Lower Explosive Limit - LEL | OSHA PEL (ppm or mg/m3) | NIOSH IDLH (ppm) | Flammability | Toxicity | Oxidizer | Asphyxiant | Notes
111512-60-8 | (Z)-2,3,3,3,-Tetrafluoro-1-Chloropropene | (Z)-CF3-CF=CHCl | 148.48 | 60 | Not flammable |  |  | Non-flammable gas | Toxic
375-17-7 | 1,1,1,2,2,3,3,4,4-Nonafluorobutane | C4HF9 | 220 | 57 | Flammable |  |  | Flammable gas | Not Toxic |  | Simple
662-00-0 | 1,1,1,2,2,3,3-Heptafluorobutane | C4H3F7 | 184.1 | 59.3 | Flammable |  |  | Flammable gas | Not Toxic |  | Simple
677-56-5 | 1,1,1,2,2,3-Hexafluoropropane | C3H2F6 | 152 | 29.3 | Not flammable |  |  | Non-flammable gas | Not toxic |  | Simple
431-89-0 | 1,1,1,2,3,3,3-Heptafluoropropane | C3HF7 | 170 | 2.48 | Not flammable |  |  | Non-flammable gas | Not toxic |  | Simple
431-63-0 | 1,1,1,2,3,3-Hexafluoropropane | C3H2F6 | 152 | 43.7 | Not flammable |  |  | Non-flammable gas | Not toxic |  | Simple
431-31-2 | 1,1,1,2,3-Pentafluoropropane | C3H3F5 | 134 | 73.4 | Flammable |  |  | Flammable gas | Toxic
811-97-2 | 1,1,1,2-Tetrafluoroethane | CH2FCF3 | 102.03 | -15.3 | Not flammable | none | ND | Non-flammable gas | Not Toxic |  | Simple
690-39-1 | 1,1,1,3,3,3-Hexafluoropropane | C3H2F6 | 152 | 30.11 | Not flammable |  |  | Non-flammable gas | Not toxic |  | Simple
420-46-2 | 1,1,1-Trifluoroethane | C2H3F3 | 84 | -53.68 | Flammable |  |  | Flammable gas | Not toxic |  | Simple
2252-84-8 | 1,1,2,2,3,3,3-Heptafluoropropane | C3HF7 | 170 | 2.7 | Not flammable |  |  | Non-flammable gas | Toxic
679-86-7 | 1,1,2,2,3-Pentafluoropropane | C3H3F5 | 134 | 78 | Flammable |  |  | Flammable gas | Toxic
359-35-3 | 1,1,2,2-Tetrafluoroethane | C2H2F4 | 102 | -9.4 | Not flammable |  |  | Non-flammable gas | Toxic
40723-63-5 | 1,1,2,2-Tetrafluoropropane | C3H4F4 | 116.1 | 30.6 | Flammable |  |  | Flammable gas | Not Toxic |  | Simple
430-66-0 | 1,1,2-Trifluoroethane | C2H3F3 | 84 | 41 | Flammable |  |  | Flammable gas | Not Toxic |  | Simple
79-35-6 | 1,1-Dichloro-2,2-Difluoroethylene | C2Cl2F2 | 132.9 | 69.8 | Not flammable |  |  | Non-flammable gas | Toxic
374-07-2 | 1,1-Dichlorotetrafluoroethane | C2F4Cl2 | 170.9 | 38.1 | Not flammable |  |  | Non-flammable gas | Toxic
75-37-6 | 1,1-Difluoroethane | C2H4F2 | 66 | -12.5 | Flammable |  |  | Flammable gas | Not Toxic |  | Simple | Abused inhalent
75-38-7 | 1,1-Difluoroethylene | C2H2F2 | 64 | -117.4 | 5.5% | none | ND | Flammable gas | Not Toxic |  | Simple
57041-67-5 | 1,2,2,2-Tetrafluoroethyl difluoromethyl ether | C3H2F6O | 168.04 | 74 | Not flammable |  |  | Non-flammable gas | Not Toxic |  | Simple | Anesthetic
590-19-2 | 1,2-Butadiene | C4H6 | 54.09 | 51.6 | 1.6% | none | ND | Category 1 Flammable gas | Toxic
76-14-2 | 1,2-Dichlorotetrafluoroethane | C2Cl2F4 | 170.92 | 38.3 | Not flammable | 1000 ppm | 15000 | Non-flammable gas | Toxic
1645-83-6 | 1,3,3,3-Tetrafluoropropene | C3H2F4 | 114.04 | -2.2 | Flammable |  |  | Flammable gas | Not toxic |  | Simple
106-99-0 | 1,3-Butadiene | C4H6 | 54.09 | 24.06 | 2% | 1 ppm | 2000 | Category 1 Flammable gas | Toxic |  |  | IDLH is 10% of LEL
106-98-9 | 1-Butene | C4H8 | 56.11 | 20.35 | 1.6% | none | ND | Non-flammable gas | Not Toxic |  | Simple
422-86-6 | 1-Chloro-1,1,2,2,3,3,3-heptafluoropropane | C3F7Cl | 204.5 | 2.5 | Not flammable |  |  | Non-flammable gas | Not Toxic |  | Simple
422-55-9 | 1-Chloro-1,1,2,2,3,3-Hexafluoropropane | C3HF6Cl | 186.5 | 62 | Not flammable |  |  | Non-flammable gas | Not Toxic |  | Simple
679-99-2 | 1-Chloro-1,1,2,2,3-Pentafluoropropane | C3H2F5Cl | 168.5 | 46 | Not flammable |  |  | Non-flammable gas | Not Toxic |  | Simple
354-25-6 | 1-Chloro-1,1,2,2-Tetrafluoroethane | C2HF4Cl | 136.5 | 50 | Not flammable |  |  | Non-flammable gas | Not Toxic |  | Simple
359-58-0 | 1-Chloro-1,1,2,3,3,3-Hexafluoropropane | C3HF6Cl | 186.5 | 63 | Not flammable |  |  | Non-flammable gas | Toxic
75-68-3 | 1-Chloro-1,1-Difluoroethane | C2H3F2Cl | 100.5 | 14.7 | Flammable |  |  | Flammable gas | Not toxic |  | Simple
2837-89-0 | 1-Chloro-1,2,2,2-Tetrafluoroethane | C2HF4Cl | 136.5 | 10.48 | Not flammable |  |  | Non-flammable gas | Not toxic |  | Simple | Fire suppressant
431-07-2 | 1-Chloro-1,2,2-Trifluoroethane | C2H2F3Cl | 118.5 | 58.3 | Not flammable |  |  | Non-flammable gas | Not Toxic |  | Simple
1615-75-4 | 1-Chloro-1-Fluoroethane | C2H4ClF | 82.5 | 60.8 | Flammable |  |  | Flammable gas | Toxic
75-88-7 | 1-Chloro-2,2,2-Trifluoroethane | C2H2F3Cl | 118.5 | 43 | Not flammable |  |  | Non-flammable gas | Not Toxic |  | Simple
2730-43-0 | 1-Chloro-3,3,3-Trifluoropropene | C3H2ClF3 | 130.5 | 66.2 | Not flammable |  |  | Non-flammable gas | Toxic
460-13-9 | 1-Fluoropropane | C3H7F | 62.1 | 27.5 | Flammable |  |  | Flammable gas | Not Toxic |  | Simple
754-12-1 | 2,3,3,3-Tetrafluoropropene | C3H2F4 | 114 | -20.92 | Flammable |  |  | Flammable gas | Not toxic |  | Simple
107-01-7 | 2-Butene (70% cis, 30% trans) | C4H8 | 56.11 | 37 | 1.8% | none | ND | Category 1 Flammable gas | Not Toxic |  | Simple
76-18-6 | 2-Chloro-1,1,1,2,3,3,3-heptafluoropropane | C3F7Cl | 204.5 | 28 | Not flammable |  |  | Non-flammable gas | Toxic
75-07-0 | Acetaldehyde | C2H4O | 44.05 | 68.4 | 4% | 200 ppm | 2000 | Category 1 Flammable gas | Toxic
74-86-2 | Acetylene | C2H2 | 26.02 | -119.2 | 2.5% | none | ND | Category 1 Flammable gas | Not Toxic |  | Simple
7664-41-7 | Ammonia | NH3 | 17.03 | -28.01 | 15% | 50 ppm | 300 | Category 2 Flammable gas | Toxic
7440-37-1 | Argon | Ar | 39.95 | -302.52 | Not flammable | none | ND | Non-flammable gas | Not Toxic |  | Simple
7784-42-1 | Arsine | AsH3 | 77.94 | -80.5 | 5.1% | 0.05 ppm | 3 | Category 1 Flammable gas | Toxic
1691-17-4 | Bis(difluoromethyl)ether | C2H2F4O | 118 | 40.5 | Not flammable |  |  | Non-flammable gas | Toxic
10294-34-5 | Boron trichloride | BCl3 | 111.17 | 54.7 | Not flammable | none | ND | Non-flammable gas | Toxic
7637-07-2 | Boron trifluoride | BF3 | 67.8 | -148.5 | Not flammable | 1 ppm | 25 | Non-flammable gas | Toxic
124-08-0 | Carbon dioxide | CO2 | 44.01 | -109.2 | Not flammable | 5000 ppm | 40000 | Non-flammable gas | Toxic |  | Chemical
630-08-0 | Carbon monoxide | CO | 28.01 | -312.7 | 12.5% | 50 ppm | 1200 | Category 1 Flammable gas | Toxic |  | Chemical
75-73-0 | Carbon tetrafluoride | CF4 | 88 | -198 | Not flammable | 10 ppm | ND | Non-flammable gas | Toxic
463-58-1 | Carbonyl sulfide | COS | 60.07 | -58.4 | 12% | none | ND | Category 1 Flammable gas | Toxic
7782-50-5 | Chlorine | Cl2 | 70.91 | -29.27 | Not flammable | 1 ppm | 10 | Non-flammable gas | Toxic | Oxidizer
10049-04-4 | Chlorine dioxide | ClO2 | 67.45 | 51.8 | Not flammable | 0.1 ppm | 5 | Non-flammable gas | Toxic
13637-63-3 | Chlorine pentafluoride | ClF5 | 130.45 | 8.42 | Not flammable | 3 ppm | 1.7 | Non-flammable gas | Toxic | Oxidizer
7790-91-2 | Chlorine trifluoride | ClF3 | 92.45 | 53.2 | Not flammable | 0.1 ppm | 12 | Non-flammable gas | Toxic | Oxidizer
75-45-6 | Chlorodifluoromethane | CHClF2 | 86.47 | -41.3 | Not flammable | none | ND | Non-flammable gas | Not Toxic |  | Simple
75-00-3 | Chloroethane (ethyl chloride) | C2H5Cl | 64.5 | 54.14 | 3.8% | 1000 ppm | 3800 | Category 1 Flammable gas | Toxic |  |  | IDLH is 10% of LEL
76-15-3 | Chloropentafluoroethane | C2F5Cl | 154.5 | -38.38 | Not flammable |  |  | Non-flammable gas | Not toxic |  | Simple
79-38-9 | Chlorotrifluoroethylene | C2ClF3 | 116.47 | -18 | 8.4% | 5 ppm | ND | Category 1 Flammable gas | Not Toxic |  | Simple
590-18-1 | cis-2-Butene | C4H8 | 56.11 | 38.7 | 1.7% | 250 ppm | ND | Category 1 Flammable gas | Not Toxic |  | Simple
355-25-9 | Decafluorobutane (Perfluorobutane) | C4F10 | 238 | 28.94 | Not flammable |  |  | Non-flammable gas | Not toxic |  | Simple | Fire suppressant
19287-45-7 | Diborane | B2H6 | 27.67 | -134.48 | 0.8% | 0.1 ppm | 15 | Category 1 Flammable gas | Toxic
75-71-8 | Dichlorodifluoromethane | CCl2F2 | 120.91 | -21.6 | Not flammable | 1000 ppm | 15000 | Non-flammable gas | Not Toxic |  | Simple
4109-96-0 | Dichlorosilane | SiH2Cl2 | 101 | 46 | 4.1% | none | ND | Category 1 Flammable gas | Toxic
1511-62-2 | Difluorobromomethane | CHF2Br | 130.9 | 5.72 | Not flammable |  |  | Non-flammable gas | Toxic |  |  | Fire suppressant
353-59-3 | Difluorochlorobromomethane | CF2ClBr | 165.4 | 25.34 | Not flammable |  |  | Non-flammable gas | Toxic |  |  | Fire suppressant
75-61-6 | Difluorodibromomethane | CF2Br2 | 209.8 | 73.04 | Not flammable | 100 ppm | 2000 | Non-flammable gas | Toxic
75-10-5 | Difluoromethane | CH2F2 | 52.02 | -62 | 12.7% | none | ND | Category 1 Flammable gas | Not Toxic |  | Simple
69948-24-9 | Difluoromethyl 1,1,2-Trifluoroethyl ether | C3H3F5O | 150 | 61.1 | Flammable |  |  | Flammable gas | Toxic
115-10-6 | Dimethyl ether | CH3OCH3 | 46.06 | -11 | 2% | none | ND | Category 1 Flammable gas | Not Toxic |  | Simple
124-40-3 | Dimethylamine | (CH3)2NH | 45.08 | 44 | 2.8% | 10 ppm | 500 | Category 1 Flammable gas | Toxic
1590-87-0 | Disilane | Si2H6 | 62.21 | 7 | 0.2% | 5 ppm | ND | Category 1 Flammable gas | Toxic
74-84-0 | Ethane | C2H6 | 30.07 | -127.4 | 2.9% | none | ND | Category 1 Flammable gas | Not Toxic |  | Simple
75-04-7 | Ethylamine | CH3CH2(NH2) | 45.1 | 61.88 | 3.5% | 10 ppm | 600 | Category 1 Flammable gas | Toxic
74-85-1 | Ethylene | C2H4 | 28.05 | -154.7 | 2.75% | 1 ppm | ND | Category 1 Flammable gas | Not Toxic |  | Simple
75-21-8 | Ethylene oxide | C2H4O | 44.05 | 50.7 | 3% | 1 ppm | 800 | Category 1 Flammable gas | Toxic
7782-41-4 | Fluorine | F2 | 38 | -188.11 | Not flammable | 0.1 ppm | 25 | Non-flammable gas | Toxic | Oxidizer
593-70-4 | Fluorochloromethane | CH2FCl | 68.5 | 15.62 | Not flammable |  |  | Non-flammable gas | Toxic
75-43-4 | Fluorodichloromethane | CHFCl2 | 102.9 | 48.056 | Not flammable | 1000 ppm | 5000 | Non-flammable gas | Toxic
353-36-6 | Fluoroethane | C2H5F | 48.1 | -34.8 | Flammable |  |  | Flammable gas | Toxic
75-02-5 | Fluoroethylene (vinyl fluoride) | C2H3F | 46 | -97.96 | 2.6% | none | ND | Flammable gas | Toxic
593-53-3 | Fluoromethane | CH3F | 34 | -108.76 | 5.6% | none | ND | Flammable gas | Not toxic |  | Simple
75-69-4 | Fluorotrichloromethane | Cl3FC | 137.36 | 74.79 | Not flammable | 1000 ppm | 2000 | Non-flammable gas | Toxic
7782-65-2 | Germane | GeH4 | 76.62 | -127.3 | 1% | none | ND | Category 1 Flammable gas | Toxic
7440-59-7 | Helium | He | 4 | -268.92 | Not flammable | none | ND | Non-flammable gas | Not Toxic |  | Simple
76-16-4 | Hexafluoroethane | C2F6 | 138.01 | -108.8 | Not flammable | none | ND | Non-flammable gas | Not Toxic |  | Simple
690-39-1 | Hexafluoropropane | C3H2F6 | 152.04 | 30 | Not flammable |  |  | Non-flammable gas | Not toxic |  | Simple | Fire suppressant
116-15-4 | Hexafluoropropylene | C3F6 | 150.02 | -18 | Not flammable | none | ND | Non-flammable gas | Toxic
1333-74-0 | Hydrogen | H2 | 2.02 | -423 | 4% | none | ND | Category 1 Flammable gas | Not Toxic |  | Simple
10035-10-6 | Hydrogen bromide | HBr | 80.91 | -88.2 | Not flammable | 3 ppm | 30 | Non-flammable gas | Toxic
7647-01-0 | Hydrogen chloride | HCl | 36.46 | -121.09 | Not flammable | 5 ppm | 50 | Non-flammable gas | Toxic
74-90-8 | Hydrogen cyanide | HCN | 27.03 | 79 | 5.6% | 10 ppm | 50 | Category 1 Flammable gas | Toxic |  | Chemical
7664-39-3 | Hydrogen fluoride | HF | 20 | 67.1 | Not flammable | 3 ppm | 30 | Non-flammable gas | Toxic
7783-07-5 | Hydrogen selenide | H2Se | 80.98 | -42.25 | 4% | 0.05 ppm | 1 | Category 1 Flammable gas | Toxic
7783-06-4 | Hydrogen sulfide | H2S | 34.08 | -75.19 | 4.3% | 20 ppm | 100 | Category 1 Flammable gas | Toxic |  | Chemical
75-28-5 | Isobutane | C4H10 | 58.12 | 10.9 | 1.8% | none | ND | Category 1 Flammable gas | Not Toxic |  | Simple
115-11-7 | Isobutylene | C4H8 | 56.11 | 19.6 | 1.8% | none | ND | Category 1 Flammable gas | Not Toxic |  | Simple
7439-90-9 | Krypton | Kr | 83.8 | -244.14 | Not flammable | none | ND | Non-flammable gas | Not Toxic |  | Simple
74-82-8 | Methane | CH4 | 16.07 | -258.7 | 4.4% | none | ND | Category 1 Flammable gas | Not Toxic |  | Simple
74-99-7 | Methyl acetylene | C3H4 | 40.06 | -9.8 | 1.7% | 1000 ppm | 1700 | Category 1 Flammable gas | Not Toxic |  | Simple | IDLH is 10% of LEL
74-87-3 | Methyl chloride | CH3Cl | 50.49 | -10.8 | 8.1% | 100 ppm | 2000 | Category 1 Flammable gas | Toxic
74-93-1 | Methyl mercaptan | CH4S | 48.11 | 42.71 | 3.9% | 10 ppm | 150 | Category 1 Flammable gas | Toxic
22410-44-2 | Methyl pentafluoroethyl ether | C3H3F5O | 150 | 42.1 | Not flammable |  |  | Non-flammable gas | Toxic
992-94-9 | Methyl silane | SiH3CH3 | 46.14 | -71 | 1.4% | none | ND | Category 1 Flammable gas | Toxic
421-14-7 | Methyl trifluoromethyl ether | C2H3F3O | 100 | -11.2 | Flammable |  |  | Flammable gas | Not Toxic |  | Simple
74-89-5 | Methylamine | CH3NH2 | 31.05 | 20 | 4.9% | 10 ppm | 100 | Category 1 Flammable gas | Toxic
106-97-8 | n-Butane | C4H10 | 58.12 | 30 | 1.6% | none | 1600 | Category 1 Flammable gas | Not Toxic |  | Simple | IDLH is 10% of LEL
7440-01-9 | Neon | Ne | 20.18 | -410.88 | Not flammable | none | ND | Non-flammable gas | Not Toxic |  | Simple
10102-43-9 | Nitric oxide | NO | 30.01 | -177 | Not flammable | 25 ppm | 100 | Non-flammable gas | Toxic
7727-37-9 | Nitrogen | N2 | 28.01 | -320.43 | Not flammable | none | ND | Non-flammable gas | Not Toxic |  | Simple
10102-44-0 | Nitrogen dioxide | NO2 | 46.01 | 70.1 | Not flammable | 5 ppm | 20 | Non-flammable gas | Toxic | Oxidizer
7783-54-2 | Nitrogen trifluoride | NF3 | 71 | -200.31 | Not flammable | 10 ppm | 1000 | Non-flammable gas | Toxic
10024-97-2 | Nitrous oxide | N2O | 44.01 | -127.26 | Not flammable | none | ND | Non-flammable gas | Toxic | Oxidizer
115-25-3 | Octafluorocyclobutane | C4F8 | 200.03 | 21.6 | Not flammable | none | ND | Non-flammable gas | Toxic
76-19-7 | Octafluoropropane | C3F8 | 188.02 | -34.1 | Not flammable | 2.5 mg/m3 | ND | Non-flammable gas | Not Toxic |  | Simple
7782-44-7 | Oxygen | O2 | 31.99 | -297.3 | Not flammable | none | ND | Non-flammable gas | Not Toxic | Oxidizer
10028-15-16 | Ozone | O3 | 47.99 | -170 | Not flammable | 0.1 ppm | 5 | Non-flammable gas | Toxic | Oxidizer
3822-68-2 | Pentafluorodimethyl ether | C2HF5O | 136 | -31 | Not flammable |  |  | Non-flammable gas | Not Toxic |  | Simple
354-33-6 | Pentafluoroethane | C2HF5 | 120 | -55.3 | Not flammable |  |  | Non-flammable gas | Not toxic |  | Simple
1814-88-6 | Pentafluoropropane | C3H3F5 | 134 | 58.8 | Flammable |  |  | Flammable gas | Not toxic |  | Simple
75-44-5 | Phosgene | COCl2 | 98.91 | 46.9 | Not flammable | 0.1 ppm | 2 | Non-flammable gas | Toxic
7803-51-2 | Phosphine | PH3 | 34 | -125.9 | 1.79% | 0.3 ppm | 50 | Category 1 Flammable gas | Toxic
463-49-0 | Propadiene | C3H4 | 40.06 | -29 | 1.9% | none | ND | Category 1 Flammable gas | Not Toxic |  | Simple
74-98-6 | Propane | C3H8 | 44.1 | -44.05 | 2.1% | 1000 ppm | 2100 | Category 1 Flammable gas | Not Toxic |  | Simple | IDLH is 10% of LEL
115-07-1 | Propylene | C3H6 | 42.08 | -53.7 | 2% | none | ND | Category 1 Flammable gas | Not Toxic |  | Simple
7783-79-1 | Selenium hexafluoride | SeF6 | 192.95 | -30.1 | Not flammable | 0.05 ppm | 2 | Non-flammable gas | Toxic
7803-62-5 | Silane | SiH4 | 32.11 | -169.4 | 1.37% | none | ND | Category 1 Flammable gas | Toxic
7446-09-5 | Sulfur dioxide | SO2 | 64.06 | -98 | Not flammable | 5 ppm | 100 | Non-flammable gas | Toxic | Oxidizer
551-62-4 | Sulfur hexafluoride | SF6 | 146.05 | -59.4 | Not flammable | 1000 ppm | ND | Non-flammable gas | Not Toxic |  | Simple
7783-60-0 | Sulfur tetrafluoride | SF4 | 108.07 | -40.7 | Not flammable | none | ND | Non-flammable gas | Toxic
7783-80-4 | Tellurium hexafluoride | TeF6 | 241.59 | -35.7 | Not flammable | 0.02 ppm | 1 | Non-flammable gas | Toxic
116-14-3 | Tetrafluoroethylene | C2F4 | 100 | -105.34 | Flammable |  |  | Flammable gas | Toxic
75-73-0 | Tetrafluoromethane | CF4 | 88 | -198.04 | Not flammable | none | ND | Non-flammable gas | Not toxic |  | Simple
624-64-6 | trans-2-Butene | C4H8 | 56.11 | 33.4 | 1.6% | none | ND | Category 1 Flammable gas | Not Toxic |  | Simple
75-63-8 | Trifluorobromomethane | CF3Br | 148.9 | -71.95 | Not flammable | 1000 ppm | 40000 | Non-flammable gas | Not toxic |  | Simple | Fire suppressant
75-46-7 | Trifluoromethane | CHF3 | 70.01 | -115.8 | Not flammable | none | ND | Non-flammable gas | Not Toxic |  | Simple
2356-61-8 | Trifluoromethyl 1,1,2,2-Tetrafluoroethyl ether | C3HF7O | 186 | 51.9 | Not flammable |  |  | Non-flammable gas | Toxic
2356-62-9 | Trifluoromethyl 1,2,2,2-Tetrafluoroethyl ether | C3HF7O | 186 | 15.8 | Not flammable |  |  | Non-flammable gas | Toxic
94458-05-6 | Trifluoropropane | C3H5F3 | 98.1 | 10.4 | Flammable |  |  | Flammable gas | Not toxic |  | Simple
75-50-3 | Trimethylamine | (CH3)3N | 59.11 | 37 | 2% | none | ND | Category 1 Flammable gas | Toxic
993-07-7 | Trimethylsilane | SiH(CH3)3 | 74.19 | 44.1 | 2% | none | ND | Category 1 Flammable gas | Toxic
7783-82-6 | Tungsten hexafluoride | WF6 | 297.83 | 62.8 | Not flammable | 2.5 mg/m3 | ND | Non-flammable gas | Toxic
75-01-4 | Vinyl chloride | C2H3Cl | 62.5 | 7.9 | 3.6% | 1 ppm | ND | Category 1 Flammable gas | Toxic
107-25-5 | Vinyl methyl ether | C3H6O | 58.08 | 43 | 2.6% | none | ND | Category 1 Flammable gas | Not Toxic |  | Simple
7440-63-3 | Xenon | Xe | 131.3 | -108.09 | Not flammable | none | ND | Non-flammable gas | Not Toxic |  | Simple
List: Hazardous Properties of Gases